## AC-DC控制器
产品名称 | Vac (min) (V) | Vac (max) (V) | fsw (max) (kHz) | Typical Pmax (W) | LLC Control | PFC Control Mode | Type | Control Method | Vfb (V) | Iq (mA) | Iop (mA) | Capacitive Mode Protection | Adaptive Dead Time Control | High-Voltage Start-Up | Package | Control mode
HR1001A |  |  |  | 600 |  |  | Resonant Controller | Analog |  |  |  | 是 | 是 | No | SOIC-16 | LLC
HR1001B |  |  |  | 600 |  |  | Resonant Controller | Analog |  |  |  | 是 | 是 | No | SOIC-16 | LLC
HR1001C |  |  |  | 600 |  |  | Resonant Controller | Analog |  |  |  | 是 | 是 | No | SOIC-16 | LLC
HR1001L |  |  |  | 600 |  |  | Resonant Controller | Analog |  |  |  | 是 | 是 | No | SOIC-16 | LLC
HR1000A |  |  |  | 600 |  |  | Resonant Controller | Analog |  |  |  | 否 | 否 | No | SOIC-16 | LLC
MP44010 | 85 | 305 | 150 |  |  |  | Controller | Boost/Buck Boost | 2.5 | 0.46 | 1.6 |  |  |  | DIP8, SOIC-8 | PFC
MP44011 | 85 | 305 | 150 |  |  |  | Controller | Boost/Buck Boost | 2.5 | 0.46 | 1.6 |  |  |  | SOIC-8 | PFC
MP44014 | 85 | 305 | 150 |  |  |  | Controller | Boost/Buck Boost | 2.5 | 2.5 | 3.5 |  |  |  | SOIC-8 | PFC
MP44014A | 85 | 305 | 150 |  |  |  | Controller | Boost/Buck Boost | 2.5 | 2.5 | 3.5 |  |  |  | SOIC-8 | PFC
HR1200 |  |  |  |  | Analog | Digital CCM/DCM | PFC+LLC Controller | [6 empty] | Yes | SOIC-28, TSSOP28 | PFC + LLC
HR1201 |  |  |  |  | Analog | Digital CCM/DCM | PFC+LLC Controller | [6 empty] | No | SOIC-28 | PFC + LLC
HR1203 |  |  |  |  | Analog | Digital CCM/DCM | PFC+LLC Controller | [6 empty] | Yes | SOIC-28, TSSOP28 | PFC + LLC
HR1204 |  |  |  |  | Analog | Digital CCM/DCM | PFC+LLC Controller | [6 empty] | No | SOIC-28, TSSOP28 | PFC + LLC
HR1210 |  |  |  |  | Digital/Current Mode | Digital CCM/DCM | PFC+LLC Controller | [6 empty] | Yes | SOIC-20, TSSOP20 | PFC + LLC